## Slide 2
Discrete - time signal processing algorithm, SpO2 and Pulse rate computations are performed on received discrete signals.
Designing of oximeter sensor head.
GUI shows SpO2 and Pulse rate
IR and R signals received from Oximeter sensor head
Conversion of analog signals to discrete signals and send them to personal computer.
Hardware Design
(Oximeter sensor head, Arduino mini and ADC circuit)
Software Design (MATLAB)
Arduino circuit

## Slide 4
Photodiodes
IR laser
R laser
(a)
(b)

## Slide 5
Signal detection and collection.
Stop
GUI
Pulse rate calculation
SpO2 (Oxygen concentration in blood) calculation
Patented Signal Processing method
Save the data in .text file
Low pass filter is applied on IRRAW and RRAW
Start
Input data from sensor.
Discrete-time signal processing.

## Slide 6
(d)
(b)
(c)

## Slide 7
(b)
(a)

## Slide 12
(a)
(b)

## Slide 13
(a)
(b)
(c)
(d)
(e)
(f)